## Approved EV charger list
Eligible EV Charger Specifications | [7 empty] | EV Charger Suppliers
EV Charger Manufacturer | EV Charger Name | Model Number | Power (kW) | Number of charging ports | Mounting Type | Charging Cable Type Socket Only (S) or Tethered Cable (T) | Can eligible software support this EV charger? (Yes/No) | Supplier Name | Supplier's Retail Price (AUD ex GST)
ABB | Terra AC Wallbox | 6AGC081279 | 22kW | Single | Wall | S | Yes | ABB, IPD, Gemtek | $1,975 - $2,338
ABB | Terra AC Wallbox - RFID | 6AGC082157 | 22kW | Single | Wall | S | Yes | ABB, IPD, Gemtek | $2,637 - $2,901
ABB | Terra AC Wallbox - RFID | 6AGC085382 | 7kW | Single | Wall | S | Yes | ABB, IPD, Gemtek | $1,871 - $2,112
ABB | Terra AC Wallbox | 6AGC081278 | 7kW | Single | Wall | S | Yes | ABB, IPD, Gemtek | $1,625 - $2,004
ABB | Terra AC Wallbox - RFID | 6AGC082152 | 22kW | Single | Wall | S | Yes | ABB, IPD, Gemtek | $2,221 - $2,444
ABB | Terra AC Wallbox - RFID, 4G | 6AGC085383 | 7kW | Single | Wall | S | Yes | ABB, IPD | $2,069 - $2,277
ABB | Terra AC Wallbox - RFID, 4G | 6AGC085385 | 7kW | Single | Wall | TC | Yes | ABB, IPD | $2,202 - $2,423
ABB | Terra AC Wallbox - RFID, 4G | 6AGC082153 | 22kW | Single | Wall | S | Yes | ABB, IPD | $2,400 - $2,641
ABB | Terra AC Wallbox - RFID | 6AGC082155 | 7kW | Single | Wall | TC | Yes | ABB, IPD, Gemtek, Charge N Go Australia | $1,771 - $2,390
ABB | Terra AC W7-T-RD-MC-0 | 6AGC082174 | 7kW | Single | Wall | S | Yes | Charge N Go Australia | 2038
ABB | Terra AC W7-G5-RD-MC-0 | 6AGC085386 | 7kW | Single | Wall | TC | Yes | Charge N Go Australia | 2178
ABB | Terra AC W22-T-RD-MC-0 | 6AGC081281 | 22kW | Single | Wall | S | Yes | Charge N Go Australia | 2813
ABB | Terra AC W22-G5-RD-MC-0 | 6AGC081285 | 22kW | Single | Wall | TC | Yes | Charge N Go Australia | 2997
Alfen | Single Pro-Line | 904460003 | 7kW | Single | Wall | S | Yes | E'langa | 1812
Alfen | Single Pro-Line | 904460007 | 7kW | Single | Wall | TC | Yes | E'langa | 1962
Alfen | Single Pro-Line | 904460023 | 22kW | Single | Wall | S | Yes | E'langa | 2050
Alfen | Single Pro-Line | 904460027 | 22kW | Single | Wall | TC | Yes | E'langa | 2100
Alfen | Double Pro-Line | 904461032 | 7kW | Dual | Wall | S | Yes | E'langa | 3534
Alfen | Double Pro-Line | 904461022 | 22kW | Dual | Wall | S | Yes | E'langa | 3685
Alfen | Twin 2 Socket | 934452502 | 22kW | Dual | Wall | S | Yes | E'langa | 5478
AppCharge | 7kW AC Wallbox Tethered | AC-WB-7-T | 7kW | Single | Wall | TC | * | Sonic Charge | $1,535
AppCharge | 22kW AC Wallbox Tethered | AC-WB-22-T | 22kW | Single | Wall | TC | * | Sonic Charge | $1,720
AppCharge | 22kW AC Floor Mount Dual Port Tethered | AC-FM-22-T-DUO | 22kW | Dual | Pedestal | TC | * | Sonic Charge | $3,560
AppCharge | 7kW AC Wallbox Socket | AC-WB-7-S | 7kW | Single | Wall | S | * | Sonic Charge | $1,365
AppCharge | 22kW AC Wallbox Socket | AC-WB-22-S | 22kW | Single | Wall | S | * | Sonic Charge | $1,550
AppCharge | 22kW AC Floor Mount Dual Port Socket | AC-FM-22-S-DUO | 22kW | Dual | Pedestal | S | * | Sonic Charge | $3,390
Autel | Maxi EU AC W7-C5, tethered 5m, 7.4kW, single phase | AC W7-C5 | 7kW | Single | Wall or Pedestal | TC | * | Connect Source | $1,138
Autel | Maxi EU AC W22-C5-4G, tethered 5m, 22kW, 3 phase | AC W22-C5-4G | 22kW | Single | Wall or Pedestal | TC | * | Connect Source | $1,579
Autel | Maxi EU AC W22-C5-4G-L-M, tethered 5m, 22kW, 3 phase, LCD touch screen | AC W22-C5-4G-L-M | 22kW | Single | Wall or Pedestal | TC | * | Connect Source | $1,788
Autel | Maxi EU AC W22-S-4G-L-M, socket version, 22kW, 3 phase, LCD touch screen | AC W22-S-4G-L-M | 22kW | Single | Wall or Pedestal | S | * | Connect Source | $1,648
Autel | AC Wallbox 7.4kw | Maxi EU AC W7-C5 | 7kW | Single | Wall | TC | * | Autel Energy | $1,335
Autel | AC Wallbox 22kw | Maxi EU AC W22-C5 | 22kW | Single | Wall | TC | * | Autel Energy | $1,853
Autel | AC Wallbox 7.4kw (Socket version) | Maxi EU AC W7-S | 7kW | Single | Wall | S | * | Autel Energy | $995
Autel | AC Wallbox 22kw (Socket Version) | Maxi EU AC W22-S | 22kW | Single | Wall | S | * | Autel Energy | $1,240
Autel | AC Wallbox 22kw w/ Touchscreen LCD | Maxi EU AC W22-C5-L-M | 22kW | Single | Wall | TC | * | Autel Energy | $2,099
Autel | AC Compact 7.4kw | Maxi EU AC07 | 7kW | Single | Wall | S | * | Autel Energy | $850
Autel | AC Compact 22kw | Maxi EU AC23 | 22kW | Single | Wall | S | * | Autel Energy | $995
Autel | EU, AC Ultra 22kW, dual CCS 2 sockets | Maxi EU AU22 | 22kW | Dual | Wall | S | * | Autel Energy | $8,500
Autel | Maxi Series EU AC 7.4 kW, Socket version 4G single phase | AC W7-S-4G | 7kW | Single | Wall or Pedestal | S | * | Connect Source | $1,153
Autel | Maxi Series EU AC 22 kW, Socket version 3 phase 4G | AC W22-S-4G | 22kW | Single | Wall or Pedestal | S | * | Connect Source | $1,320
Autel | MaxiCharger AC Ultra Dual Socket EF44S001 | AC Ultra Dual Socket EF44S001 | 22kW | Dual | Pedestal | S | * | Connect Source | $7,020
Circontrol | eNEXT Park | WNP00032011 | 7kW | Single | Wall | S | Yes | E'langa | 1828
Circontrol | eNEXT Park | WNP00032013 | 22kW | Single | Wall | S | Yes | E'langa | 1906
Circontrol | eNEXT Elite | WNC00032011 | 7kW | Single | Wall | S | Yes | E'langa | 1928
Circontrol | eNEXT Elite | WNC00032013 | 22kW | Single | Wall | S | Yes | E'langa | 1951
Circontrol | eNEXT Elite | Model S | 7kW | Single | Wall | S | Yes | E-station | 1700
Circontrol | eNEXT Elite | Model T | 22kW | Single | Wall | S | Yes | E-station | 1700
Circontrol | Evolve Smart Twin - RFID, 4G | Evolve Smart S (Wall) | 7kW | Dual | Wall | S | Yes | E-station | 5990
Circontrol | Evolve Smart Twin - RFID, MiD Meter, 4G | Evolve Smart T (Wall) | 22kW | Dual | Wall | S | Yes | E-station | 5990
Circontrol | eNEXT Park | Model S / eNext Park | 7kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 2300
Circontrol | eNEXT Park | Model T / eNext Park | 22kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 2565
Circontrol | eNEXT Park | Model S Two / eNext Park | 7kW | Dual | Wall or Pedestal | S | Yes | EV charging stations | 3177
Circontrol | eNEXT Elite | Model S / eNext Elite | 7kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 2427
Circontrol | eNEXT Elite | Model T / eNext Elite | 22kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 2684
Circontrol | eVolve Smart | Model S One / eVolve Smart | 7kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 6400
Circontrol | eVolve Smart | Model T One / eVolve Smart | 22kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 6767
Circontrol | eVolve Smart | Model S / eVolve Smart | 7kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 7200
Circontrol | eVolve Smart | Model T / eVolve Smart | 22kW | Single | Wall or Pedestal | S | Yes | EV charging stations | 7535
Circontrol | eVolve Smart | WVS00064011 | 7kW | Dual | Pedestal | S | Yes | E'langa | 4833
Circontrol | eVolve Smart | WVS00064013 | 22kW | Dual | Pedestal | S | Yes | E'langa | 5374
Circontrol | Post eVolve Smart | PVS00064011 | 7kW | Dual | Pedestal | S | Yes | E'langa | 4884
Circontrol | Post eVolve Smart | PVS00064013 | 22kW | Dual | Pedestal | S | Yes | E'langa | 5884
Circontrol | Evolve Smart Twin - RFID, MiD Meter | Evolve Smart S (Pedestal) | 7kW | Dual | Pedestal | S | Yes | E-station | 6990
Circontrol | Evolve Smart Twin - RFID, MiD Meter, 4G | Evolve Smart T (Pedestal) | 22kW | Dual | Pedestal | S | Yes | E-station | 6990
Circontrol | Evolve Smart + payment terminal - RFID, MID, 4G (7kW per port) | Evolve Credit Card Master S | 7kW | Dual | Pedestal | S | Yes | E-station | 9900
Circontrol | Evolve Smart + payment terminal - RFID, MID, 4G | Evolve Credit Card Master T | 22kW | Dual | Pedestal | S | Yes | E-station | 9900
Circontrol | Circontrol eVolve Smart / Post | Model S One / eVolve Smart Post | 7kW | Single | Pedestal | S | Yes | EV charging stations | 8348
Circontrol | Circontrol eVolve Smart / Post | Model T One / eVolve Smart Post | 22kW | Single | Pedestal | S | Yes | EV charging stations | 8889
Circontrol | Circontrol eVolve Smart / Post | Model S / eVolve Smart Post | 7kW | Single | Pedestal | S | Yes | EV charging stations | 9100
Circontrol | Circontrol eVolve Smart / Post | Model T / eVolve Smart Post | 22kW | Single | Pedestal | S | Yes | EV charging stations | 9557
CitaEV | CitaEV Smart charger Smart 7 | CitaEV Smart 7 | 7kW | Single | Wall | S | Yes | EV-NRG | 1544
CitaEV | CitaEV Smart charger Smart 22 | CitaEV Smart 22 | 22kW | Single | Wall | S | Yes | EV-NRG | 2362
CityLine | Cityline 100 7Kw | City Line 100 | 7kW | Single | Both | S | * | ChargePost | $5,950
CityLine | Cityline 300 11/22Kw | City Line 300 | 22kW | Single | Both | S | * | ChargePost | $6,750
CityLine | Cityline 100 - IDC In Door 7Kw | City Line IDC | 7kW | Single | Both | S | * | ChargePost | $5,450
CityLine | Cityline 100 - CDC 7Kw | City Line CDC | 7kW | Single | Both | S | * | ChargePost | $7,950
CityLine | EVline 100 3.5/7Kw | EVLine 100 | 7kW | Single | Both | S | * | ChargePost | $5,950
CityLine | EVline 300 11/22Kw | EVLine 300 | 22kW | Single | Both | S | * | ChargePost | $6,750
CityLine | EVline 100 Smart 3.5/7Kw | EVLine 100 Smart | 7kW | Single | Both | S | * | ChargePost | $5,950
CityLine | EVline 300 Smart 11/22Kw | EVLine 300 Smart | 22kW | Single | Both | S | * | ChargePost | $6,750
Delta Electronics | AC MAX Charger - AC Wallbox Plug | EIAW-E22KTSE5A04 (7kW) | 7kW | Single | Wall | TC | Yes | NHP | $1,750
Delta Electronics | AC MAX Charger - AC Wallbox Plug | EIAW-E22KTSE5A04 (22kW) | 22kW | Single | Wall | TC | Yes | NHP | 1750
Delta Electronics | AC MAX Charger - AC Wallbox Shutter | EIAW-E22KTSH0A04 (7 kW) | 7kW | Single | Wall | S | Yes | NHP | 1750
Delta Electronics | AC MAX Charger - AC Wallbox Shutter | EIAW-E22KTSH0A04 (22 kW) | 22kW | Single | Wall | S | Yes | NHP | 1750
Delta Electronics | AC MAX Charger - AC Wallbox Socket | EIAW-E22KTSS0A04 | 22kW | Single | Wall | S | Yes | NHP | 1750
Elinta | Homebox Slim Socket | EM-HBS-74 | 7kW | Single | Wall | S | Yes | E'langa | 1578
Elinta | Homebox Slim Cable | EM-HBS-74-PLUS | 7kW | Single | Wall | TC | Yes | E'langa | 1879
Elinta | Homebox Slim Socket | EM-HBS-22 | 22kW | Single | Wall | S | Yes | E'langa | 1901
Elinta | Homebox Slim Cable | EM-HBS-22-PLUS | 22kW | Single | Wall | TC | Yes | E'langa | 1951
Elinta | Citycharge V2 Plus | EM-CC-V2-PLUS | 22kW | Dual | Wall | TC | Yes | E'langa | 5884
Elinta | Citycharge V2 | EM-CC-V2 | 22kW | Dual | Wall | S | Yes | E'langa | 5373
Enel Waybox | Waybox 4.0 Start Single/Three Phase Socketed | WAYBOX 4.0 Start (7kW) | 7kW | Single | Wall | S | * | Electric Future | $1,199
Enel Waybox | Waybox 4.0 Start Single/Three Phase Socketed | WAYBOX 4.0 Start (22kW) | 22kW | Single | Wall | S | * | Electric Future | $1,199
Enel Waybox | Waybox 4.0 Start Single/Three Phase 5M Type 2 | WAYBOX 4.0 Start Tethered (7kW) | 7kW | Single | Wall | TC | * | Electric Future | $1,349
Enel Waybox | Waybox 4.0 Start Single/Three Phase 5M Type 2 | WAYBOX 4.0 Start Tethered (22kW) | 22kW | Single | Wall | TC | * | Electric Future | $1,349
EO Charging | EO Genius 2 | EG201-DCL(-GSM-PLC) | 7kW | Single | Wall | S | Yes | EO Charging | 1817
EO Charging | EO Genius 2 | EG203-DCL(-GSM-PLC) | 22kW | Single | Wall | S | Yes | EO Charging | 1917
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, Ethernet | G-PC1Z7BY10 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,079
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, Ethernet | G-PC1Z7BY10 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,079
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, WiFi, Ethernet | G-PC1Z7BY20 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,178
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, WiFi, Ethernet | G-PC1Z7BY20 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,178
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, LTE, Ethernet | G-PC1Z7BY40 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,178
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MCB OC+dI DC, RFID, LTE, Ethernet | G-PC1Z7BY40 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,178
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, Ethernet | G-PC1V7BY10 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,252
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, Ethernet | G-PC1V7BY10 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,252
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, WiFi, Ethernet | G-PC1V7BY20 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,351
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, WiFi, Ethernet | G-PC1V7BY20 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,351
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, LTE, Ethernet | G-PC1V7BY40 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,351
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MCB OC+dI DC, RFID, LTE, Ethernet | G-PC1V7BY40 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,351
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dl DC, RFID, Ethernet | G-PC1Z5BY10 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,128
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dl DC, RFID, Ethernet | G-PC1Z5BY10 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,128
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dI DC, RFID, WiFi, Ethernet | G-PC1Z5BY20 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,227
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dI DC, RFID, WiFi, Ethernet | G-PC1Z5BY20 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,227
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dI DC, RFID, LTE, Ethernet | G-PC1Z5BY40 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,227
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, RCD+dI DC, RFID, LTE, Ethernet | G-PC1Z5BY40 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,227
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dl DC, RFID, Ethernet | G-PC1V5BY10 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,301
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dl DC, RFID, Ethernet | G-PC1V5BY10 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,301
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dl DC, RFID, WiFI, Ethernet | G-PC1V5BY20 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,399
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dl DC, RFID, WiFI, Ethernet | G-PC1V5BY20 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,399
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dI DC, RFID, LTE, Ethernet | G-PC1V5BY40 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,399
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, RCD+dI DC, RFID, LTE, Ethernet | G-PC1V5BY40 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,399
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, Ethernet | G-PC1ZBDY10 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,326
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, Ethernet | G-PC1ZBDY10 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,326
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, WiFi, Ethernet | G-PC1ZBDY20 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,425
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, WiFi, Ethernet | G-PC1ZBDY20 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,425
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, LTE, Ethernet | G-PC1ZBDY40 (7kW) | 7kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,425
Etrel | INCH Pro with LCD, 7.4kW or 22kW, socket, MID+dI DC, MID door, RFID, LTE, Ethernet | G-PC1ZBDY40 (22kW) | 22kW | Single | Wall or Pedestal | S | * | Landis+Gyr | $2,425
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dI DC, MID door, RFID, Ethernet | G-PC1VBDY10 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,499
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dI DC, MID door, RFID, Ethernet | G-PC1VBDY10 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,499
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dI DC, MID door, RFID, WiFi, Ethernet | G-PC1VBDY20 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,598
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dI DC, MID door, RFID, WiFi, Ethernet | G-PC1VBDY20 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,598
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dl DC, MID door, RFID, LTE, Ethernet | G-PC1VBDY40 (7kW) | 7kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,598
Etrel | INCH Pro with LCD, 7.4kW or 22kW, 5m cable, MID+dl DC, MID door, RFID, LTE, Ethernet | G-PC1VBDY40 (22kW) | 22kW | Single | Wall or Pedestal | TC | * | Landis+Gyr | $2,598
Etrel | INCH Duo with LCD, 22kW, RFID, MID meters, dI DC fault current detection, RCD-A, 2x Type 2 socket+locking, Ethernet | G-DC3ZFBY10 | 22kW | Dual | Pedestal | S | * | Landis+Gyr | $6,860
Etrel | INCH Duo with LCD, 22kW, RFID, MID meters, dI DC fault current detection, RCD-A, 2x Type 2 socket+locking, Ethernet + WiFi | G-DC3ZFBY20 | 22kW | Dual | Pedestal | S | * | Landis+Gyr | $6,950
Etrel | INCH Duo with LCD, 22kW, RFID, MID meters, dI DC fault current detection, RCD-A, 2x Type 2 socket+locking, Ethernet + LTE modem | G-DC3ZFBY40 | 22kW | Dual | Pedestal | S | * | Landis+Gyr | $6,990
Etrel | INCH Duo with LCD, 22kW, RFID, MID meters, dI DC fault current detection, RCD-A, 2x Type 2 socket+locking, Ethernet + LTE router Teltonika RUT240 | G-DC3ZFBY10-C00 | 22kW | Dual | Pedestal | S | * | Landis+Gyr | $7,350
Etrel | INCH Duo with LCD, 22kW, RFID, MID meters, dI DC fault current detection, RCD-A, 2x Type 2 socket+locking, Ethernet + LTE router Teltonika RUT240 + 5-port network switch | G-DC3ZFBY10-C09 | 22kW | Dual | Pedestal | S | * | Landis+Gyr | $7,670
EVBox | EVBox Elvi Wifi Only | E1320-A45062 | 7kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 1857
EVBox | EVBox Elvi Wifi Only | E3320-A45062 | 22kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 2078
EVBox | EVBox Elvi Wifi + kWh meter | E1320-A35062 | 7kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 1968
EVBox | EVBox Elvi Wifi + kWh meter | E3320-A35062 | 22kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 2147
EVBox | EVBox Elvi Wifi + kWh + UMTS | E1320-A15062 | 7kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 1800
EVBox | EVBox Elvi Wifi + kWh + UMTS | E3320-A15062 | 22kW | Single | Wall | TC | Yes | Smart EV Solutions (EV Hub) | 2200
EVBox | EVBox BusinessLine Hub | B1321-E1801 | 7kW | Single | Wall | S | Yes | Smart EV Solutions (EV Hub) | 1950
EVBox | EVBox BusinessLine Hub | B3321-E1801 | 22kW | Single | Wall | S | Yes | Smart EV Solutions (EV Hub) | 2150
EVBox | EVBox BusinessLine Sat | B1321-E5801 | 7kW | Single | Wall | S | Yes | Smart EV Solutions (EV Hub) | 2200
EVBox | EVBox BusinessLine Sat | B3321-E5801 | 22kW | Single | Wall | S | Yes | Smart EV Solutions (EV Hub) | 1950
EVBox | EVBox BusinessLine Hub | B1322-E1801 | 7kW | Dual | Wall | S | Yes | Smart EV Solutions (EV Hub) | 4200
EVBox | EVBox BusinessLine Hub | B3322-E1801 | 22kW | Dual | Wall | S | Yes | Smart EV Solutions (EV Hub) | 4200
EVBox | EVBox BusinessLine Sat | B1322-E5801 | 7kW | Dual | Wall | S | Yes | Smart EV Solutions (EV Hub) | 3700
EVBox | EVBox BusinessLine Sat | B3322-E5801 | 22kW | Dual | Wall | S | Yes | Smart EV Solutions (EV Hub) | 3700
EVESCo | AC Wall Charger, 0-32A output current | EVAC-7 (EU-D) | 7kW | Single | Wall | S | No | Sealed Performance Batteries | 2727
EVESCo | AC Wall Charger, 0-32A output current | EVAC-22 (EU-D) | 22kW | Single | Wall | S | No | Sealed Performance Batteries | 2909
Evnex | 5m charging lead, Type 2 connector, GSM and WiFi communication, solar diversion, and dynamic load protection | E2-25SN | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,268
Evnex | 5m charging lead, Type 2 connector, GSM and WiFi communication, solar diversion, and dynamic load protection | E2-25SA | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,268
Evnex | 5m charging lead, Type 2 connector, GSM and WiFi communication, solar diversion, and dynamic load protection | E2-25ST | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,268
Evnex | 5m charging lead, Type 2 connector, GSM and WiFi communication, solar diversion, and dynamic load protection | E2-25VO | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,268
Evnex | 8m charging lead,Type 2 connector,s GSM and WiFi communication, solar diversion, and dynamic load protection | E2-28SN | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,359
Evnex | 8m charging lead,Type 2 connector,s GSM and WiFi communication, solar diversion, and dynamic load protection | E2-28SA | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,359
Evnex | 8m charging lead,Type 2 connector,s GSM and WiFi communication, solar diversion, and dynamic load protection | E2-28ST | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,359
Evnex | 8m charging lead,Type 2 connector,s GSM and WiFi communication, solar diversion, and dynamic load protection | E2-28VO | 7kW | Single | Wall or Pedestal | TC | * | Evnex | $1,359
Evnex | Evnex 1 x Type 2 socket, grey enclosure | X7-T2S-GXX | 7kW | Single | Wall | S | * | Evnex | 1400
Evnex | Evnex 1 x 5-meter Type 2 tethered charging cable, grey enclosure | X7-T2T-GXX | 7kW | Single | Wall | TC | * | Evnex | 1400
Evnex | Evnex 1 x Type 2 socket, white enclosure | X7-T2S-WXX | 7kW | Single | Wall | S | * | Evnex | 1400
Evnex | Evnex 1 x 5-meter Type 2 tethered charging cable, white enclosure | X7-T2T-WXX | 7kW | Single | Wall | TC | * | Evnex | 1400
Evnex | Evnex 1 x Type 2 socket, grey enclosure | X22-T2S-GXX | 22kW | Single | Wall | S | * | Evnex | 1750
Evnex | Evnex 1 x 5-meter Type 2 tethered charging cable, grey enclosure | X22-T2T-GXX | 22kW | Single | Wall | TC | * | Evnex | 1750
Evnex | Evnex 1 x Type 2 socket, white enclosure | X22-T2S-WXX | 22kW | Single | Wall | S | * | Evnex | 1750
Evnex | Evnex 1 x 5-meter Type 2 tethered charging cable, white enclosure | X22-T2T- WXX | 22kW | Single | Wall | TC | * | Evnex | 1750
EVolution Australia | Auriga-W7 | Auriga-W7 | 7kW | Single | Wall | S | No | EVolution Australia | 1359.0909
EVolution Australia | Auriga-W22 | Auriga-W22 | 22kW | Single | Wall | S | No | EVolution Australia | 1813.6364
EVolution Australia | Auriga-PP7 | Auriga-PP7 | 7kW | Dual | Pedestal | S | No | EVolution Australia | 4086.3636
EVolution Australia | Auriga-PP22 | Auriga-PP22 | 22kW | Dual | Pedestal | S | No | EVolution Australia | 4540.9091
EVOS Energy | Fleet Home22 | FAC22-001 | 22kW | Single | Wall | TC | No | EVOS Energy | 2200
EVUp | AURIGA Dual Port | EVOAUR7x2PPOCPP | 7kW | Dual | Pedestal | S | Yes | EVUp | 5499
EVUp | AURIGA Dual Port | EVOAUR22x2PPOCPP | 22kW | Dual | Pedestal | S | Yes | EVUp | 7499
Fimer Italy | Fimer Flexa AC Wallbox - T2 Socket - Future Net | 3Q760713100F | 7kW | Single | Wall | S | Yes | Fimer Australia | 1949
Fimer Italy | Fimer Flexa AC Wallbox - T2 Socket - Future Net | 3Q762214300F | 22kW | Single | Wall | S | Yes | Fimer Australia | 2066
Fimer Italy | Fimer Flexa AC Wallbox - T2 Cord - Future Net | 3Q760713200F | 7kW | Single | Wall | TC | Yes | Fimer Australia | 2104
Fimer Italy | Fimer Flexa AC Wallbox - T2 Cord - Future Net | 3Q762214400F | 22kW | Single | Wall | TC | Yes | Fimer Australia | 2221
Fimer Italy | FLEXA AC Station | Standalone | 22kW | Dual | Pedestal | S | Yes | Fimer Australia | $8,816
Fimer Italy | FLEXA AC Station | Local Controller | 22kW | Dual | Pedestal | S | Yes | Fimer Australia | $9,193
Fimer Italy | FLEXA AC Station | FutureNet | 22kW | Dual | Pedestal | S | Yes | Fimer Australia | $10,014
Fronius | Wattpilot Home 22 J | Wattpilot Home 22 J | 22kW | Single | Wall | S | * | Fronius | $2000
Fronius | Wattpilot Go 22 J AUS | Wattpilot Go 22 J AUS | 22kW | Single | Wall | S | * | Fronius | $2000
GARO | LS4 Ground Mount | LS4DCM T222WO LAN | 22kW | Dual | Pedestal | S | Yes | Sealed Performance Batteries | 7999
GARO | LS4 Ground Mount | LS4DCM T274WO LAN | 7kW | Dual | Pedestal | S | Yes | Sealed Performance Batteries | 7727
HeyCharge | 7kW (32A, 1-phase) electric vehicle wallbox with type 2 socket and MID meter | HW18-0021M07B003 | 7kW | Single | Wall | S | * | Voltiq | $1,899
HeyCharge | 22kW AC (32A, 3-phase) LCD display, certified MID meter, socket | HW18-0013PM22B004 | 22kW | Single | Wall | S | * | Voltiq | $2,999
Indra Renewable Technologies | Smart Pioneer | 190105A102 | 7kW | Single | Wall | TC | Yes | EV-NRG | 1544
Indra Renewable Technologies | Smart Pioneer | 190105A103 | 7kW | Single | Wall | S | Yes | EV-NRG | 1544
Jetcharge | JET Charge Chargemate | CHM3P22kW001 (7kW) | 7kW | Single | Wall | S | Yes | Jetcharge | 1650
Jetcharge | JET Charge Chargemate | CHM3P22kW001 (22kW) | 22kW | Single | Wall | S | Yes | Jetcharge | 1650
Jetcharge | JET Charge Chargemate NMI | CHM3P22kW002 | 7kW | Single | Wall | S | Yes | Jetcharge | 1850
Jetcharge | JET Charge Chargemate NMI | CHM3P22kW003 | 22kW | Single | Wall | S | Yes | Jetcharge | 2050
Jetcharge | Chargemate 7/22kW with 4G | CHM3P22kW001-4G (7kW) | 7kW | Single | Wall | S | Yes | Jetcharge | $2,000
Jetcharge | Chargemate 7/22kW with 4G | CHM3P22kW001-4G (22kW) | 22kW | Single | Wall | S | Yes | Jetcharge | $2,000
Jetcharge | ChargeMate 7kW NMI with 4G | CHM3P22kW002-4G | 7kW | Single | Wall | S | Yes | Jetcharge | $2,200
Jetcharge | ChargeMate 22kW NMI with 4G | CHM3P22kW003-4G | 22kW | Single | Wall | S | Yes | Jetcharge | $2,400
KarChargers | 22kW - Wallbox - Socket | Wallbox_fleet_socket | 22kW | Single | Wall or Pedestal | S | * | KarChargers | $1,950
KarChargers | 22kW - Wallbox - Cable | Wallbox_fleet_cable | 22kW | Single | Wall or Pedestal | TC | * | KarChargers | $2,000
KarChargers | 22kW - Wallbox - Socket - Sim | Wallbox_Professional_Socket | 22kW | Single | Wall or Pedestal | S | * | KarChargers | $2,000
KarChargers | 22kW - Wallbox - Cable - Sim | Wallbox_Professional_Cable | 22kW | Single | Wall or Pedestal | TC | * | KarChargers | $2,050
KarChargers | 22kW - Tower - Socket - Sim | Tower_Pro_DualSocket | 22kW | Dual | Pedestal | S | * | KarChargers | $5,999
Legrand Australia Pty Ltd | GREEN UP METAL EV CHARGER 7.4KW SINGLE PHASE | 058043 | 7kW | Single | Wall | S | * | Legrand Australia | $2,340
Legrand Australia Pty Ltd | GREEN UP METAL EV CHARGER 7.4KW SINGLE PHASE | 058044 | 7kW | Dual | Wall | S | * | Legrand Australia | $3,600
Legrand Australia Pty Ltd | GREEN UP METAL EV CHARGER 22KW 3 PHASE | 058048 | 22kW | Single | Wall | S | * | Legrand Australia | $2,400
Legrand Australia Pty Ltd | GREEN UP METAL EV CHARGER 22KW 3 PHASE | 058049 | 22kW | Dual | Wall | S | * | Legrand Australia | $3,660
Myenergi | Zappi 7kW tethered - Black | ZAPPI-2H07TB | 7kW | Single | Wall | TC | * | Myenergi | $1,450
Myenergi | Zappi 7kW tethered - White | ZAPPI-2H07TW | 7kW | Single | Wall | TC | * | Myenergi | $1,450
Myenergi | Zappi 7kW untethered – Black | ZAPPI-2H07UB | 7kW | Single | Wall | S | * | Myenergi | $1,404
Myenergi | Zappi 7kW untethered - White | ZAPPI-2H07UW | 7kW | Single | Wall | S | * | Myenergi | $1,404
Myenergi | Zappi 22kW tethered – Black | ZAPPI-2H22TB | 22kW | Single | Wall | TC | * | Myenergi | $1,722
Myenergi | Zappi 22kW tethered – White | ZAPPI-2H22TW | 22kW | Single | Wall | TC | * | Myenergi | $1,722
Myenergi | Zappi 22kW untethered – Black | ZAPPI-2H22UB | 22kW | Single | Wall | S | * | Myenergi | $1,677
Myenergi | Zappi 22kW untethered – White | ZAPPI-2H22UW | 22kW | Single | Wall | S | * | Myenergi | $1,677
Lite-On Technology | Intelligent | Intelligent (7kW) | 7kW | Single | Wall | TC | Yes | Solis Energy | 2395
Lite-On Technology | Intelligent | Intelligent (22kW) | 22kW | Single | Wall | TC | Yes | Solis Energy | 2495
Noodoe Corporation | Noodoe A7 | Noodoe A7 | 7kW | Single | Wall | TC | Yes | Noodoe | 1190
Noodoe Corporation | Noodoe A7i | Noodoe A7i | 7kW | Single | Wall | TC | Yes | Noodoe | 1290
Noodoe Corporation | AC7P | AC7P | 7kW | Single | Wall | TC | Yes | Noodoe | 1350
Noodoe Corporation | Noodoe A22 | Noodoe A22 | 22kW | Single | Wall | TC | Yes | Noodoe | 1390
Noodoe Corporation | Noodoe A22i | Noodoe A22i | 22kW | Single | Wall | TC | Yes | Noodoe | 1490
Ocular | Ocular IQ Wall Box Universal | IOCAH10R-7S | 7kW | Single | Wall or Pedestal | S | Yes | EVSE | 1697
Ocular | Ocular IQ Wall Box Universal | IOCAH10R-22S | 22kW | Single | Wall or Pedestal | S | Yes | EVSE | 1979
Ocular | Ocular IQ Wall Box w/5m cable | IOCAH10R-7T | 7kW | Single | Wall or Pedestal | TC | Yes | EVSE | 1797
Ocular | Ocular IQ Wall Box w/5m cable | IOCAH10R-22T | 22kW | Single | Wall or Pedestal | TC | Yes | EVSE | 2079
Ocular | Ocular IQ Commercial Wall Box | IOCAW05C-7S | 7kW | Single | Wall or Pedestal | S | Yes | EVSE | 2197
Ocular | Ocular IQ Commercial Wall Box | IOCAW05C-22S | 22kW | Single | Wall or Pedestal | S | Yes | EVSE | 2479
Ocular | Ocular IQ Commercial Wall Box w/5m cable | IOCAW05C-7T | 7kW | Single | Wall or Pedestal | TC | Yes | EVSE | 2397
Ocular | Ocular IQ Commercial Wall Box w/5m cable | IOCAW05C22T | 22kW | Single | Wall or Pedestal | TC | Yes | EVSE | 2679
Ocular | Ocular IQ Commercial Wall Box Universal with 4G Modem | IOCAW05C-7S 4G | 7kW | Single | Wall or Pedestal | S | Yes | EVSE | 2397
Ocular | Ocular IQ Commercial Wall Box Universal with 4G Modem | IOCAW05C-22S 4G | 22kW | Single | Wall or Pedestal | S | Yes | EVSE | 2679
Ocular | Ocular IQ Commercial Wall Box w/5m cable and 4G Modem | IOCAW05C-7T 4G | 7kW | Single | Wall or Pedestal | TC | Yes | EVSE | 2597
Ocular | Ocular IQ Commercial Wall Box w/5m cable and 4G Modem | IOCAW05C-22T 4G | 22kW | Single | Wall or Pedestal | TC | Yes | EVSE | 2879
Ocular | Ocular IQ Commercial Dual Port Tower Single Phase | IOCAP06C-7 4G | 7 kW | Dual | Pedestal | S | Yes | EVSE | 6600
Ocular | Ocular IQ Commercial Dual Port Tower Three Phase | IOCAP06C-22 4G | 22 kW | Dual | Pedestal | S | Yes | EVSE | 7600
Ocular | Ocular IQ Commercial Dual Port Three Phase w/5m Type-2 cables | IOCAP06C-22T 4G | 22 kW | Dual | Pedestal | TC | Yes | EVSE | 8000
Ocular | Ocular IQ Wallbox Single Phase 7kW Universal | IOCAW13-7S | 7kW | Single | Wall or Pedestal | S | Yes | EVSE | $1,697
Ocular | Ocular IQ Wallbox Three Phase 22kW Universal | IOCAW13-22S | 22kW | Single | Wall or Pedestal | S | Yes | EVSE | $1,879
Ocular | Ocular IQ Wallbox Single Phase 7kW with Type 2 Lead | IOCAW13-7T | 7kW | Single | Wall or Pedestal | TC | Yes | EVSE | $1,797
Ocular | Ocular IQ Wallbox Three Phase 22kW with Type 2 Lead | IOCAW13-22T | 22kW | Single | Wall or Pedestal | TC | Yes | EVSE | $1,979
Ocular | Ocular IQ Solar Wallbox Single Phase 7kW Universal with CT Clamp | IOCAW13-7S-Solar | 7kW | Single | Wall | S | Yes | EVSE | $1,545
Ocular | Ocular IQ Solar Wallbox Three Phase 22kW Universal with CT Clamps | IOCAW13-22S-Solar | 22kW | Single | Wall | S | Yes | EVSE | $1,745
Ocular | Ocular IQ Solar Wallbox Single Phase 7kW with Type 2 Lead & CT Clamp | IOCAW13-7T-Solar | 7kW | Single | Wall | TC | Yes | EVSE | $1,608
Ocular | Ocular IQ Solar Wallbox Three Phase 22kW with Type 2 Lead & CT Clamps | IOCAW13-22T-Solar | 22kW | Single | Wall | TC | Yes | EVSE | $1,808
Ocular | Ocular Tower Dual Single Phase 7kW 4G - w/5m Cables | IOCAP06C-7T 4G | 7kW | Dual | Pedestal | TC | Yes | EVSE | $7,000
Orbis | Viaris Uni 5m cable | OB94U220 | 7kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 1550
Orbis | Viaris Uni 10m cable | OB94U2A0 | 7kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 1940
Orbis | Viaris Uni Outlet T2 Shutter | OB94U2C0 | 7kW | Single | Wall | S | Yes | Charger Stations Australia (CSA) | 1530
Orbis | Viaris Uni 5m cable | OB94U720 | 22kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 1750
Orbis | Viaris Uni 10m cable | OB94U7A0 | 22kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 2210
Orbis | Viaris Uni Outlet T2 Shutter | OB94U7C0 | 22kW | Single | Wall | S | Yes | Charger Stations Australia (CSA) | 1700
Orbis | Viaris Combi 5m cable | OB94P220 | 7kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 2540
Orbis | Viaris Combi 2x 5m cable Type 2 | OB94P222 | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3025
Orbis | Viaris Combi 5m cable Type 2 + Outlet Type 2 with shutter | OB94P22C | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3145
Orbis | Viaris Combi 10m cable Type 2 | OB94P2A0 | 7kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 2835
Orbis | Viaris Combi 2x 10m cable Type 2 | OB94P2AA | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3485
Orbis | Viaris Combi 10m cable Type 2 + Outlet Type 2 with shutter | OB94P2B.C. | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3315
Orbis | Viaris Combi 5m cable Type 1 + 5m cable Type 2 | OB94P212 | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3080
Orbis | Viaris Combi 5m cable Type 1 + 10m cable Type 2 | OB94P21A | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3370
Orbis | Viaris Combi 5m cable Type 1 + Outlet Type 2 with shutter | OB94P21C | 7kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3145
Orbis | Viaris Combi Outlet Type 2 with shutter | OB94P2C0 | 7kW | Dual | Wall | S | Yes | Charger Stations Australia (CSA) | 2665
Orbis | Viaris Combi 2x Outlet Type 2 with shutter | OB94P2CC | 7kW | Dual | Wall | S | Yes | Charger Stations Australia (CSA) | 3145
Orbis | Viaris Combi 5m cable Type 2 | OB94P720 | 22kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 3020
Orbis | Viaris Combi 2x 5m cable Type 2 | OB94P722 | 22kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3700
Orbis | Viaris Combi 5m cable Type 2 + Outlet Type 2 with shutter | OB94P72C | 22kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3580
Orbis | Viaris Combi 10m cable Type 2 | OB94P7A0 | 22kW | Single | Wall | TC | Yes | Charger Stations Australia (CSA) | 3345
Orbis | Viaris Combi 2x 10m cable Type 2 | OB94P7AA | 22kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 4310
Orbis | Viaris Combi 10m cable Type 2 + Outlet Type 2 with shutter | OB94P7AC | 22kW | Dual | Wall | TC | Yes | Charger Stations Australia (CSA) | 3870
Orbis | Viaris Combi Outlet Type 2 with shutter | OB94P7C0 | 22kW | Single | Wall | S | Yes | Charger Stations Australia (CSA) | 2910
Orbis | Viaris Combi 2x Outlet Type 2 with shutter | OB94P7CC | 22kW | Dual | Wall | S | Yes | Charger Stations Australia (CSA) | 3415
Pioneer IoT | EV AC | PTS-EVC7-002C | 7kW | Single | Wall | TC | No | Pioneer IoT | 1500
Pioneer IoT | EV AC | PTS-EVC22-002C | 22kW | Single | Wall | TC | No | Pioneer IoT | 1600
Plusrite | 7.4kW AC/Charger wall mounted, 1 phase, WIFI, Bluetooth, Dynamic Load Balancing Box | EV7.4KW/DLB/T2 | 7kW | Single | Wall | TC | * | Plusrite | $1,650
Plusrite | 22kW AC/Charger wall mounted, 3 phase, WIFI, Bluetooth, Dynamic Load Balancing Box | EV22KW/DLB/T2 | 22kW | Single | Wall | TC | * | Plusrite | $1,875
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID | 205.W74-S0 | 7kW | Single | Wall | TC | No | Scame Australia | 1999
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, 4G/WIFI | 205.W85-S0 | 7kW | Single | Wall | TC | No | Scame Australia | 2399
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, PM | 205.W78-S0 | 7kW | Single | Wall | TC | No | Scame Australia | 2299
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, 4G WIFI, PM | 205.W86-S0 | 7kW | Single | Wall | TC | No | Scame Australia | 2899
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID | 205.W74-U0 | 22kW | Single | Wall | TC | No | Scame Australia | 1999
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, 4G/WIFI | 205.W85-U0 | 22kW | Single | Wall | TC | No | Scame Australia | 2549
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, PM | 205.W78-U0 | 22kW | Single | Wall | TC | No | Scame Australia | 2549
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (4M), MID, RFID, 4G/WIFI, PM | 205.W86-U0 | 22kW | Single | Wall | TC | No | Scame Australia | 2999
Scame PARRE S.p.A. (Scame Italy) | BE-W NET TETHERED (7.5M), MID, RFID | 205.W74-U08 | 22kW | Single | Wall | TC | No | Scame Australia | 2299
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID | 205.W74-B0 | 7kW | Single | Wall | S | No | Scame Australia | 1799
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID, 4G WIFI | 205.W85-B0 | 7kW | Single | Wall | S | No | Scame Australia | 2349
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID, PM | 205.W78-B0 | 7kW | Single | Wall | S | No | Scame Australia | 2249
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID | 205.W74-D0 | 22kW | Single | Wall | S | No | Scame Australia | 2049
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID, PM | 205.W78-D0 | 22kW | Single | Wall | S | No | Scame Australia | 2399
Scame PARRE S.p.A. (Scame Italy) | BE-W NET SOCKET, MID, RFID, 4G WIFI, PM | 205.W86-D0 | 22kW | Single | Wall | S | No | Scame Australia | 2699
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 SOCKETS, MID, RFID | 204.WD21D-T2T2MA | 7kW | Dual | Wall | S | No | Scame Australia | 4899
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 SOCKETS, RCBO, MID, RFID | 204.WD21B-T2T2MA | 7kW | Dual | Wall | S | No | Scame Australia | 5699
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 SOCKETS, MID, RFID | 204.WD23D-T2T2MA | 22kW | Dual | Wall | S | No | Scame Australia | 5499
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 SOCKETS, RCBO, MID, RFID | 204.WD23B-T2T2MA | 22kW | Dual | Wall | S | No | Scame Australia | 6899
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 SOCKETS, RCBO, MID, RFID, 4G/WIFI | 204.WD23B-T2T2ME | 22kW | Dual | Wall | S | No | Scame Australia | 7699
Scame PARRE S.p.A. (Scame Italy) | WD NET 2 TETHERED (7.5M), RCBO, MID, RFID | 204.WD23R-SV003 | 22kW | Dual | Wall | TC | No | Scame Australia | 8999
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-A 2 SOCKETS, RCBO, MID, RFID | 205.A52-BB | 7kW | Dual | Pedestal | S | No | Scame Australia | 7499
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-A 2 SOCKETS, RCBO, MID, RFID, 4G/WIFI | 205.A62-BB (7kW) | 7kW | Dual | Pedestal | S | No | Scame Australia | 8299
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-A 2 SOCKETS, RCBO, MID, RFID | 205.A62-BB (22kW) | 22kW | Dual | Pedestal | S | No | Scame Australia | 8599
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-A 2 SOCKETS, RCBO, MID, RFID, 4G/WIFI | 205.A62-DD | 22kW | Dual | Pedestal | S | No | Scame Australia | 9399
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 SOCKETS, RCBO, MID, RFID | 205.B52-BB | 7kW | Dual | Pedestal | S | No | Scame Australia | 7649
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 SOCKETS, RCBO, MID, RFID, 4G/WIFI | 205.B62-BB | 7kW | Dual | Pedestal | S | No | Scame Australia | 8399
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 SOCKETS, RCBO, MID, RFID | 205.B52-DD | 22kW | Dual | Pedestal | S | No | Scame Australia | 8799
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 SOCKETS T2 22kW, RCBO, MID, RFID, 4G/WIFI | 205.B62-DD | 22kW | Dual | Pedestal | S | No | Scame Australia | 9599
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 TETHERED (4M), RCBO, MID, RFID | 205.B52-SS | 7kW | Dual | Pedestal | TC | No | Scame Australia | 8199
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 TETHERED (4M), RCBO, MID, RFID, 4G/WIFI | 205.B62-SS | 7kW | Dual | Pedestal | TC | No | Scame Australia | 8999
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 TETHERED (4M), RCBO, MID, RFID | 205.B52-UU | 22kW | Dual | Pedestal | TC | No | Scame Australia | 9649
Scame PARRE S.p.A. (Scame Italy) | PILLAR BE-B 2 TETHERED (4M), RCBO, MID, RFID, 4G/WIFI | 205.B62-UU | 22kW | Dual | Pedestal | TC | No | Scame Australia | 10399
Scame PARRE S.p.A. (Scame Italy) | PILLAR CA 2 SOCKETS, RCBO, MID, RFID | 204.CA23B-T2T2MA | 22kW | Dual | Pedestal | S | No | Scame Australia | 7799
Scame PARRE S.p.A. (Scame Italy) | PILLAR CA 2 SOCKETS, RCBO, MID, RFID, 4G/WIFI | 204.CA23B-T2T2ME | 22kW | Dual | Pedestal | S | No | Scame Australia | 8599
Shenzen EN+ Technologies | Single Phase Charger | AC7000-BE-34 | 7kW | Single | Wall | S | Yes | NewNRG2Go | 1600
Shenzen EN+ Technologies | Three Phase Charger | AC022K-BE-34 | 22kW | Single | Wall | S | Yes | NewNRG2Go | 2500
Shenzen EN+ Technologies | GET Electric Intelligent Charger | GETEV7SCG1 | 7kW | Single | Wall | TC | Yes | GET Electric | 1795
Shenzen EN+ Technologies | GET Electric Intelligent Charger | GETEV22SCG3 | 22kW | Single | Wall | TC | Yes | GET Electric | 2995
Schneider Electric | EVlink Pro AC 7.4kw T2S 6mA MNXMID | EVB3S07N40M | 7kW | Single | Wall or Pedestal | S | Yes | Schneider Electric | $3,488
Schneider Electric | EVlink Pro AC 7.4kw Attcab 6mA MNX | EVB3S07NC0 | 7kW | Single | Wall or Pedestal | TC | Yes | Schneider Electric | $3,315
Schneider Electric | EVlink Pro AC 22kw T2S 6mA MNX | EVB3S22N4 | 22kW | Single | Wall or Pedestal | S | Yes | Schneider Electric | $3,374
Schneider Electric | EVlink Pro AC 22kw T2S MID 3PH 6mA | EVB3S22N40M | 22kW | Single | Wall or Pedestal | S | Yes | Schneider Electric | $4,040
Schneider Electric | EVlink Pro AC 22 kw Attcab RDC-DD6mA | EVB3S22NC0 | 22kW | Single | Wall or Pedestal | TC | Yes | Schneider Electric | $3,703
Schneider Electric | EVlink Pro AC 22kw AttCab MID 3PH 6mA | EVB3S22NC0M | 22kW | Single | Wall or Pedestal | TC | Yes | Schneider Electric | $4,395
Siemens | Versicharge, Parent, Cable | 8EM1310-3EJ04-3GA1 | 22kW | Single | Wall | TC | Yes | Siemens, Yurika Energy Supplies | $2,632 - $2,840
Siemens | Versicharge, Child, Cable | 8EM1310-3EJ04-0GA0 | 22kW | Single | Wall | TC | Yes | Siemens, Yurika Energy Supplies | $2,212 - $2,500
Siemens | Versicharge, Parent, Cable | 8EM1310-2EJ04-3GA1 | 7kW | Single | Wall | TC | Yes | Siemens, Yurika Energy Supplies | $2,177 - $2,475
Siemens | Versicharge, Child, Cable | 8EM1310-2EJ04-0GA0 | 7kW | Single | Wall | TC | Yes | Siemens, Yurika Energy Supplies | $1,799 - $2,135
Siemens | Versicharge, Parent, Socket | 8EM1310-3EH04-3GA1 | 22kW | Single | Wall | S | Yes | Siemens, Yurika Energy Supplies | $2,569 - $2,800
Siemens | Versicharge, Child, Socket | 8EM1310-3EH04-0GA0 | 22kW | Single | Wall | S | Yes | Siemens, Yurika Energy Supplies | $2,156 - $2,450
Siemens | Versicharge, Parent, Socket | 8EM1310-2EH04-3GA1 | 7kW | Single | Wall | S | Yes | Siemens, Yurika Energy Supplies | $2,121 - $2,425
Siemens | Versicharge, Child, Socket | 8EM1310-2EH04-0GA0 | 7kW | Single | Wall | S | Yes | Siemens, Yurika Energy Supplies | $1,715 - $2,085
Siemens | Sicharge CC AC22 Dual Port | 8EM1000-0BA00-0BA0-ZA00 | 22kW | Dual | Pedestal | S | Yes | Siemens | 10860
Siemens | Sicharge CC AC22 Dual Charge Cable | 8EM1000-0BA10-0BA0-ZA00 | 22kW | Dual | Pedestal | TC | Yes | Siemens | 12040
Siemens | Sicharge CC AC22, Socket, 4G | 8EM1000-0BA00-0AA0 | 22kW | Dual | Pedestal | S | Yes | Yurika Energy Supplies | 8260
Siemens | Sicharge CC AC22, Socket, LAN | 8EM1000-0BH00-0AA0 | 22kW | Dual | Pedestal | S | Yes | Yurika Energy Supplies | 8260
Sinexcel | Interstellar - 4G/WIFI | SEA230/32Y-E-P | 7kW | Single | Pedestal | TC | Yes | Charge Region, goEV | $1,248 - $2,015
Sinexcel | Interstellar - 4G/WIFI/Touchscreen | SEA230/32Y-E-D | 7kW | Single | Pedestal | TC | Yes | Charge Region | 2224.5455
Sinexcel | Interstellar - 4G/WIFI | SEA40032Y-E-P | 22kW | Single | Pedestal | TC | Yes | Charge Region, goEV | $1,489 - $2,225
Sinexcel | Interstellar - 4G/WIFI/Touchscreen | SEA40032Y-E-D | 22kW | Single | Pedestal | TC | Yes | Charge Region | 2434.5455
Sinexcel | Magellan Power 7kW 1PH AC EV Charger | EV Charger 7KW 1PH | 7kW | Single | Wall or Pedestal | TC | Yes | Magellan Powertronics | $1,265
Sinexcel | Magellan Power 22kW 3PH AC EV Charger | EV Charger 22KW 3PH | 22kW | Single | Wall or Pedestal | TC | Yes | Magellan Powertronics | $1,472
Smappee | EV Wall Business, Charging Socket on Right Side | EVWB-332-BR-E-W (7kW) | 7kW | Single | Wall | S | Yes | Vista Power Technologies | 2490
Smappee | EV Wall Business, Charging Socket on Right Side | EVWB-332-BR-E-W (22kW) | 22kW | Single | Wall | S | Yes | Smappee, Vista Power Technologies | $2,296 - $2,490
Smappee | EV Wall Business, 8M Tethered Charging Lead | EVWB-332-C8R-E-W (7kW) | 7kW | Single | Wall | TC | Yes | Vista Power Technologies | 2750
Smappee | EV Wall Business, 8M Tethered Charging Lead | EVWB-332-C8R-E-W (22kW) | 22kW | Single | Wall | TC | Yes | Smappee, Vista Power Technologies | $2,542 - $2,750
Smappee | EV Base, Charging Socket on Both Sides | EVB-2332-B-E (7kW) | 7kW | Dual | Pedestal | S | Yes | Vista Power Technologies | 5600
Smappee | EV Base, Charging Socket on Both Sides | EVB-2332-B-E (22kW) | 22kW | Dual | Pedestal | S | Yes | Smappee, Vista Power Technologies | $5,248 - $5,600
Smappee | EV Base, 5M Tethered Charging Lead on Both Sides | EVB-2332-C5-E (7kW) | 7kW | Dual | Pedestal | TC | Yes | Vista Power Technologies | 6200
Smappee | EV Base, 5M Tethered Charging Lead on Both Sides | EVB-2332-C5-E (22kW) | 22kW | Dual | Pedestal | TC | Yes | Smappee, Vista Power Technologies | $5,740 - $6,200
Smappee | EV One Business 3-Phase 22 kW | EVOB-332-B-E-B | 22kW | Single | Pedestal | S | Yes | Smappee, Vista Power Technologies | $2,706 - $2,950
Starcharge | Saturn Series 22 Case C | DH-AC0220XG58-D | 22kW | Dual | Wall | TC | Yes | MG Motor Australia | 5317
Starcharge | Saturn Series 22 Case B | DH-AC0220XG58 | 22kW | Dual | Wall | TC | Yes | MG Motor Australia | 4999.9
Starcharge | MG ChargeHub Silver | C11030035 | 7kW | Single | Wall | TC | Yes | MG Motor Australia | 1809
Starcharge | MG ChargeHub Red | C11030039 | 7kW | Single | Wall | TC | Yes | MG Motor Australia | 1809
Starcharge | MG ChargeHub Black | C11030041 | 7kW | Single | Wall | TC | Yes | MG Motor Australia | 1809
Teltonika | TeltoCharge 5m Cable Type 22kW (32A / 3-phase) | EVC1210P1000 | 22kW | Single | Wall | TC | * | Teltonika | $1,780
Teltonika | TeltoCharge Socket Type + 22kW (32A / 3- phase) | EVC1200P4000 | 22kW | Single | Wall | S | * | Teltonika | $1,680
Teltonika | TeltoCharge 5m Cable Type 7.4kW (32A / 1-phase) | EVC1010P1000 | 7kW | Single | Wall | TC | * | Teltonika | $1,550
Teltonika | TeltoCharge Socket Type 7.4kW (32A / 1-phase) | EVC1000P4000 | 7kW | Single | Wall | S | * | Teltonika | $1,450
Tribus | AC 7kW Charging (Socket) | TR0001 | 7kW | Single | Wall | S | * | Smart EV Solutions (EV Hub) | $950
Tribus | AC 22Kw Charging (Socket) | TR0002 | 22kW | Single | Wall | S | * | Smart EV Solutions (EV Hub) | $1,500
Wallbox | Pulsar Plus 5M White | PLP1-0-2-2-9-001 | 7kW | Single | Wall | TC | Yes | Wallbox | 1408
Wallbox | Pulsar Plus 5M Black | PLP1-0-2-2-9-002 | 7kW | Single | Wall | TC | Yes | Wallbox | 1408
Wallbox | Pulsar Plus 7M Black | PLP1-M-2-2-9-002 | 7kW | Single | Wall | TC | Yes | Wallbox | 1589
Wallbox | Pulsar Plus 5M White | PLP1-0-2-4-9-001 | 22kW | Single | Wall | TC | Yes | Wallbox | 1499
Wallbox | Pulsar Plus 5M Black | PLP1-0-2-4-9-002 | 22kW | Single | Wall | TC | Yes | Wallbox | 1499
Wallbox | Pulsar Plus 7M White | PLP1-M-2-4-9-001 | 22kW | Single | Wall | TC | Yes | Wallbox | 1635
Wallbox | Pulsar Plus 7M Black | PLP1-M-2-4-9-002 | 22kW | Single | Wall | TC | Yes | Wallbox | 1635
Wallbox | Copper SB Socket | CPB1-S-2-4-8-002 | 22kW | Single | Wall | S | Yes | Wallbox | 1880
Wallbox | Pulsar Max 5M White | PLP2-0-2-2-9-001 | 7kW | Single | Wall | TC | Yes | Wallbox | 1544
Wallbox | Pulsar Max 5M Black | PLP2-0-2-2-9-002 | 7kW | Single | Wall | TC | Yes | Wallbox | 1544
Wallbox | Pulsar Max 7M Black | PLP2-M-2-2-9-002 | 7kW | Single | Wall | TC | Yes | Wallbox | 1726
Wallbox | Pulsar Max 5M White | PLP2-0-2-4-9-001 | 22kW | Single | Wall | TC | Yes | Wallbox | 1635
Wallbox | Pulsar Max 5M Black | PLP2-0-2-4-9-002 | 22kW | Single | Wall | TC | Yes | Wallbox | 1635
Wallbox | Pulsar Max 7M White | PLP2-M-2-4-9-001 | 22kW | Single | Wall | TC | Yes | Wallbox | 1817
Wallbox | Pulsar Max 7M Black | PLP2-M-2-4-9-002 | 22kW | Single | Wall | TC | Yes | Wallbox | 1817
Wallbox | Pulsar Max 7.4kW - 22kW Type 2 | PLP2-M-2-2-9-001 (7kW) | 7kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Max 7.4kW - 22kW Type 2 | PLP2-M-2-2-9-001 (22kW) | 22kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-0-2-2-K-002(7kW) | 7kW | Single | Wall | TC | Yes | Wallbox | $1,508
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-0-2-2-K-002(22kW) | 22kW | Single | Wall | TC | Yes | Wallbox | $1,508
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-M-2-2-K-002(7kW) | 7kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-M-2-2-K-002(22kW) | 22kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-0-2-4-K-002(7kW) | 7kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-0-2-4-K-002(22kW) | 22kW | Single | Wall | TC | Yes | Wallbox | $1,635
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-M-2-4-K-002(7kW) | 7kW | Single | Wall | TC | Yes | Wallbox | $1,682
Wallbox | Pulsar Pro 7.4kw - 22kW Type 2 + 4G +RFID | PPR1-M-2-4-K-002(22kW) | 22kW | Single | Wall | TC | Yes | Wallbox | $1,682
Weidmuller | AC SMART ECO 7.4KW single phase with 5 m cable CH-W-S-A7.4-P-E | 2875210000 | 7kW | Single | Wall or Pedestal | TC | * | Weidmuller | $708
Weidmuller | AC SMART ECO 22KW 3 phase with 5m cable CH-W-S-A22-P-E | 2863100000 | 22kW | Single | Wall or Pedestal | TC | * | Weidmuller | $945
Weidmuller | AC SMART VALUE 22KW 3 phase with 5m cable CH-W-S-A22-P-V | 2875250000 | 22kW | Single | Wall or Pedestal | TC | * | Weidmuller | $1,575
Weidmuller | AC SMART VALUE 22KW 3 phase with SOCKET CH-W-S-A22-P-V | 2875230000 | 22kW | Single | Wall or Pedestal | S | * | Weidmuller | $1,477
Weidmuller | AC SMART ADVANCED CH-W-S-A22-P-A | 2875290000 | 22kW | Single | Wall or Pedestal | TC | * | Weidmuller | $2,744
Weidmuller | AC SMART ADVANCED CH-W-S-A22-S-A | 2875270000 | 22kW | Single | Wall or Pedestal | S | * | Weidmuller | $2,573
Xcharge | C2EU Standard 3 meter cable + one type 2 socket | C2EU - Standard | 7kW | Single | Wall | TC | Yes | Halo Energy Pty. Ltd. | 1800
Xcharge | C2EU Advanced 3 meter cable | C2EU - Advanced | 22kW | Single | Wall | TC | Yes | Halo Energy Pty. Ltd. | 2700
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger with Cable | BCP-A2N-P | 7kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,136
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger Socket Type | BCP-B2N-P | 7kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,091
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger Single Socket Type without 4G | BCPC-B2N-P | 7kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,269
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger Dual Socket Type without 4G | BCPC-D2N-P | 7kW | Dual | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,647
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger Single Socket Type with 4G | BCPC-B2N-P-4G | 7kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,358
Zhejiang Benyi New Energy Co.,Ltd. | OCPP Version 7kW Single Phase EV Charger Dual Socket Type with 4G | BCPC-D2N-P-4G | 7kW | Dual | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,736
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger with Cable | BCP-AT2N-P | 22kW | Single | Wall | TC | No | iEngineering Australia Pty. Ltd. | $1,247
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger Socket Type | BCP-BT2N-P | 22kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,180
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger Single Socket Type without 4G | BCPC-BT2N-P | 22kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,314
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger Dual Socket Type without 4G | BCPC-DT2N-P | 22kW | Dual | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,691
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger Single Socket Type with 4G | BCPC-BT2N-P-4G | 22kW | Single | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,603
Zhejiang Benyi New Energy Co.,Ltd. | OCPP 22kW Three Phase EV Charger 22kW Dual Socket with 4G | BCPC-DT2N-P-4G | 22kW | Dual | Wall | S | No | iEngineering Australia Pty. Ltd. | $1,980
* The EVSE/charger is imported from the Western Australian Government's approved chargers list and has not been verified by the EVC if the software is supported by a software platform. As part of the ongoing work to update the list, this will be addressed in the EOI expected to launch in February 2024.
Approved EV charger list
v1.2 published 15.12.2023